
[image: image2.jpg]#t

BOX 8800, 5304 - 56TH AVENUE

DRAYTON VALLEY, ALBERTA T7A 1P9
Phone: (780) 542-4808 * Fax: (780) 542-7118

EVERGREEN Email info@evergreengascoop.com

GAS CO-OP LTD.

GST #101703502




[image: image1.jpg]#t

BOX 8800, 5304 - 56TH AVENUE

DRAYTON VALLEY, ALBERTA T7A 1P9
Phone: (780) 542-4808 * Fax: (780) 542-7118

EVERGREEN Email info@evergreengascoop.com

GAS CO-OP LTD.

GST #101703502





PART II: Specifications and Bid Price Schedule
ITEM DESCRIPTION

1.
Polyethylene Pipe Installation: Plowing
Includes hauling and unloading of pipe and other materials, removal of foreign obstacles from the right-of-way, grading of the right-of-way, installing at the specified depth (minimum 80 cm), joining of pipe and tracer wire by qualified labour to industry standards, installing temporary gates, backfilling of ditches, bell holes, and plow furrows, cleanup of right-of-way, repairing or replacing fences, and installing warning signs and/or posts as required. Double Stripping of all bell holes is required to ensure proper salvage of topsoil.
	Polyethylene Plowing: 25mm
	2026 Unit Rate ($/meter)
	2027 Unit Rate ($/meter)

	1 – 100 meters
	
	

	101 – 300 meters
	
	

	301 meters and over
	
	


	Polyethylene Plowing: 32mm – 50mm
	2026 Unit Rate ($/meter)
	2027 Unit Rate ($/meter)

	1 – 600 meters
	
	

	601 – 1600 meters
	
	

	1601 meters and over
	
	


	Polyethylene Plowing: 60mm – 75mm
	2026 Unit Rate ($/meter)
	2027 Unit Rate ($/meter)

	1 – 600 meters
	
	

	601 – 1600 meters
	
	

	1601 meters and over
	
	


2.
Polyethylene Pipe Installation: Trenching

Includes hauling and unloading of pipe and other materials, removal of foreign obstacles from the right-of-way, grading of the right-of-way, installing at the specified depth (minimum 80 cm), joining of pipe and tracer wire by qualified labour to industry standards, installing temporary gates, backfilling of ditches, bell holes, and plow furrows, cleanup of right-of-way, repairing or replacing fences, and installing warning signs and/or posts as required. Double Stripping of all bell holes is required to ensure proper salvage of topsoil.

	
Polyethylene Trenching: 20mm – 25mm
	2026 Unit Rate ($/meter)
	2027 Unit Rate ($/meter)

	1 – 100 meters
	
	

	101 – 300 meters
	
	

	301 meters and over
	
	


	Polyethylene Trenching: 32mm – 50mm
	2026 Unit Rate ($/meter)
	2027 Unit Rate ($/meter)

	1 – 600 meters
	
	

	601 – 1600 meters
	
	

	
	
	

	1601 meters and over
	
	


	Polyethylene Trenching: 60mm – 75mm
	2026 Unit Rate ($/meter)
	2027 Unit Rate ($/meter)

	1 – 600 meters
	
	

	601 – 1600 meters
	
	

	1601 meters and over
	
	


3.
Multiple Polyethylene Pipes Installed in Common Ditch

Includes hauling and unloading of pipe and other materials, removal of foreign obstacles from the right-of-way, grading of the right-of-way, installing at the specified depth (minimum 100 cm), joining of pipe and tracer wire by qualified labour to industry standards, installing temporary gates, backfilling of ditches, and bell holes, cleanup of right-of-way, repairing or replacing fences, and installing warning signs and/or posts as required. Double Stripping of all bell holes is required to ensure proper salvage of topsoil.
	25mm 
	2026 Unit Rate (2 lines per meter)
	2026 (Additional each)
	2027 Unit Rate (2 lines per meter)
	2027 (Additional each)

	1 – 100 meters
	
	
	
	

	101 – 300 meters
	
	
	
	

	301 meters and over
	
	
	
	


	32mm - 50mm
	2026 Unit Rate (2 lines per meter)
	2026 (Additional each)
	2027 Unit Rate (2 lines per meter)
	2027 (Additional each)

	1 – 600 meters
	
	
	
	

	601 – 1600 meters
	
	
	
	

	1601 meters and over
	
	
	
	


	65mm - 75mm
	2026 Unit Rate (2 lines per meter)
	2026 (Additional each)
	2027 Unit Rate (2 lines per meter)
	2027 (Additional each)

	1 – 600 meters
	
	
	
	

	601 – 1600 meters
	
	
	
	

	1601 meters and over
	
	
	
	


4.
Track hoe
Required where unable to plow or trench and unable to install the pipeline by conventional dry-land means - only accessible by track hoe (i.e., muskeg).

	2026 Unit Rate ($/meter)
	2027 Unit Rate ($/meter)

	
	

	
	

	
	


5.
Horizontal Directional Drilling
Includes bell holes, extra depth where required (*minimum 140 cm in bar ditch), placement and tie-ins of pipe and tracer wire by qualified labour to industry standards through the crossing area, backfilling, clean-up, fence repairs or replacement, and installation of warning signs and posts, as required.

	2026 Unit Rate ($/meter)
	2027 Unit Rate ($/meter)

	
	

	
	

	
	


6.
Crossings (Polyethylene, All Sizes)

Includes exposure of underground facilities, installation of gas pipelines and tracer wire by qualified labour to industry standards through foreign right-of-way, all tie-ins, backfilling, cleanup, installation of test leads (where applicable), and warning signs and posts. Must follow foreign facility owner requirements for crossing including exposure method.
	Distributor Exposed Facilities
	2026 Unit Rate (Each)
	2027 Unit Rate (Each)

	Foreign Pipeline
	
	

	Additional Co-op line (multiple in common ditch
	
	

	Each additional Co-op line (multiple in common ditch)
	
	

	Buried utility lines including telephone, power, water, sewer, propane, etc.
	
	

	Fibre optics communication lines


	
	


	Contractor Exposed Facilities
	2026 Unit Rate (Each)
	2027 Unit Rate (Each)

	Foreign Pipeline
	
	

	Additional Co-op line (multiple in common ditch
	
	

	Each additional Co-op line (multiple in common ditch)
	
	

	Buried utility lines including telephone, power, water, sewer, propane, etc.
	
	

	Fibre optics communication lines


	
	


*See item 2(f) in (Part III) Construction Contract.

7. 
Brushing of Right-of-Way
	
	2026 Unit Rate ($/meter)
	2027 Unit Rate ($/meter)

	Includes clearing and wind rowing off to the side.
	
	

	Total Cleanup of Right-of-Way - Includes clearing, piling, and total removal of debris.
	
	


8.  
Riser Installation (All sizes - 20 mm to 50 mm inclusive - riser c/w valve.)
To supply qualified labour and equipment to assemble, tie-in, and install risers and anodes to industry standards for a customer service or an above ground valve connection.
	2026 Unit Rate (each)
	2027 Unit Rate (each)

	
	

	
	

	
	


9.
Testing
Includes all equipment necessary to test new installations to 980 kPa /(kilopascals) 142 P.S.I. (pounds per square inch) minimum test pressure with digital gauge recorder or chart recorder as determined by Clause 7.3 in the Technical Standards Manual 7th Edition.
	2026 Unit Rate (each)
	2027 Unit Rate (each)

	
	

	
	

	
	


10. 
Tie-in - Polyethylene
To supply qualified labour and equipment to connect a newly installed pipeline to an existing pipeline includes hand excavation of existing pipeline, squeeze-off (if required), tie-in of P.E. pipe and tracer wire to industry standards, backfill, and cleanup. Tie in unit rates include all sizes and methods including butt fusion, saddle fusions, mechanical, and electrofusion.
	
	2026 Unit Rate (each)
	2027 Unit Rate (each)

	Hot Tie-in
	
	

	Cold Tie-in
	
	


11. 
 Force Account Rates
The Contractor shall attach a schedule of Force Account Rates for the supply of labour and equipment. Payment of these rates will only be considered when extenuating circumstances exist and preapproval is given by the Distributor.
12.
Although these proposed unit prices are for bid purposes only, the Contractor agrees the acceptance of this Tender will constitute the basis of the Construction Contract, and it shall commence work upon notification, and shall be governed by such specifications contained herein.
THIS PROPOSAL EXECUTED UNDER SEAL
THIS _________ DAY OF _____________________________   2026
_________________________________________ Contractor Signature
_________________________________________ Witness (if not sealed)

The following quantity of work may be expected within the Distributor’s franchise area based on the 2023 construction season:
	Plowing 25mm
	5600m

	Plowing 32mm - 50mm
	1000m

	Plowing 32mm - 50mm
	

	Trenching
	100m

	Trackhoe (two - 50mm P.E. lines)
	

	Trackhoe
	

	Brushing
	100m

	Horizontal Directional Drilling
	1100m

	Pipelines – Distributor Hydrovac
	13

	Pipelines – Contractor Hydrovac
	

	Utility Crossings
	8

	Fibre Optic Crossings
	

	Riser Installations
	14


Please note the following:

Bids may be based on the quantity of work performed in a previous year, however, Evergreen Gas Co-op Ltd. does not guarantee the amount of work SEQ CHAPTER \h \r 1 to be performed in 2026/2027.

PAGE  
Page 9 Part II


[image: image1.jpg][image: image2.jpg]